## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. To use a checklist properly, you will need to have a copy of the standard itself. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 123-24 1st Ed
ANSI/ASB 123-2024, First Edition
Standard for Routine Internal Evaluation of a Laboratory’s DNA Interpretation and Comparison Protocol
Discipline: | Biology/DNA
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
Requirements | 4.1 | Requirement | The laboratory shall administer this internal evaluation program annually. All proficiency-tested individuals in the laboratory who are performing mixed DNA data interpretation and/or comparisons including analysts, technical reviewers, and the technical leader, shall fulfill the requirements of this standard a minimum of once every two years. A minimum of half of these individuals need to fulfill this requirement every year in addition to the annual proficiency testing requirements. NOTE If the number of examiners (n) is odd, then (n + 1)/ 2 and (n - 1)/ 2 will be tested in alternate years [( e.g., if there are 7 examiners, then 4 examiners will be tested in year one, and 3 will be tested in year two (or vice versa)].
Requirements | 4.1.1 | Requirement | The laboratory shall define, by written laboratory protocol, the overall goals of the evaluation program and the frequency with which each technology, kit, and protocol used within the laboratory will be evaluated using this standard.
Requirements | 4.1.2 | Requirement | The administrator of each internal evaluation shall define which technology, kit, and protocol(s) are included in each evaluation. When the technical leader (or equivalent) is participating in the internal evaluation, the technical leader shall assign another person to take on the administrator role.
Requirements | 4.1.3 | Requirement | Prior to each evaluation, the laboratory shall document the scope of the evaluation, including the number and types of profiles to be included based on the specific criteria being evaluated. NOTE While this standard generally applies to mixed DNA data, the laboratory is encouraged to also include single source DNA profiles exhibiting stochastic effects in the evaluation.
Requirements | 4.2 | Requirement | Mixed DNA data under evaluation shall be provided to each individual participating in the evaluation, and shall meet the following criteria. a) Provided in electronic format as raw data files. b) Developed by the laboratory and/or accepted from another laboratory using the same amplification kit, analytical instrument, and parameters as the recipient laboratory. c) Previously generated or specifically produced for the purpose of evaluating the protocol; however, the data used shall not have been previously interpreted by the individual(s) participating in this evaluation. d) Of known origin generated from mixed DNA samples having a known number of contributors and profile of each contributor. This information can be used to determine the range of acceptable answers given the appropriate application of the laboratory’s interpretation and comparison protocol (see 4.4). e) Interpreted and compared using the current laboratory protocol for interpretation and comparison. f) Representative of the types of DNA profiles encountered in casework in the laboratory performing the evaluation. Specifically, mixture complexity shall include variations in template amount, contributor ratio, and number of contributors. Periodically, where the period is defined by written laboratory protocol, one or more profiles exceeding the parameters and limitations of the laboratory protocol shall be included in the internal evaluation. These variations shall span the range of the types and complexities of mixtures typically encountered by the laboratory in casework with a focus on the limitations of the testing procedures and interpretation of data, including high quality and poor quality profiles. These test profiles shall not be duplicative of the types of profiles currently resulting from commercially-available proficiency tests and shall include profiles which exhibit stochastic effects.
Requirements | 4.2 cont'd | Requirement cont'd | The administrator should also include profiles that meet certain criteria and/or require the use of certain steps of the protocol for more in depth investigation within the laboratory. These may include DNA profiles: ⎯ exhibiting various stochastic effects (e.g., drop-out, drop-in, elevated stutter, peak height imbalance); ⎯ with major and minor contributors (e.g., single vs. multiple major contributors, multiple minor contributors); ⎯ where all contributors are exhibiting stochastic effects; ⎯ with related individuals (e.g., father/daughter); ⎯ requiring different propositions/conditioning (assuming); ⎯ that are uninterpretable or unsuitable for comparison; ⎯ that are mixtures requiring subjective decisions and/or analyst/individual discretion, if any exist in the protocol; ⎯ that exceed the parameters and limitations of the laboratory protocol. NOTE Based on the types of profiles routinely interpreted and compared, level of training, types of samples and profiles expected to be encountered in casework, areas of interest in the protocol for evaluation, etc. different profiles may be provided to different groups of analysts and/or individuals on various teams.
Requirements | 4.3 | Requirement | Known reference data shall be provided for interpretation and comparison (e.g., assumed contributors for proposition building and/or deducing second contributors; contributors and noncontributors for comparison). The known reference data profiles shall be provided as electronic data or as typed profiles as appropriate based on the laboratory’s protocol and the scenario being evaluated.
Requirements | 4.4 | Requirement | The administrator of the evaluation shall clearly define the acceptable range of variability in the interpretation of the data based on the known genotypes and ratios of contributors to the DNA profile provided. The administrator shall also clearly define the correct assumptions and the acceptable outcomes of the comparisons prior to the start of the evaluation. The evaluation shall ensure the loci and data chosen for interpretation, comparison and statistical analysis are correct and consistent with the laboratory’s protocol and that any other relevant portions of the protocol were appropriately applied during the evaluation.
Requirements | 4.4.1 | Requirement | The administrator shall ensure the data were appropriately interpreted, and that the assumptions and propositions made by the participants are consistent with the laboratory’s protocol.
Requirements | 4.4.2 | Requirement | The responses from the participants shall include all assumptions and decisions made during the interpretation and comparison processes. These shall be reported based on the laboratory’s DNA interpretation and comparison protocol and all other documentation required by the laboratory protocol.
Requirements | 4.5 | Requirement | Any element of the internal evaluation outside the acceptable range outlined in 4.4 shall be documented, evaluated to assess the root cause of the discrepancy, and addressed in accordance with the laboratory’s quality system.
Conformance | 5 | Section Title
Conformance | 5.1 | Requirement | Documentation demonstrating conformance with the requirements described here shall be approved by the laboratory’s DNA technical leader or other appropriate personnel and retained by the laboratory, to include: a) the scope of the annual evaluation; b) the types of DNA profiles provided and the individual(s) who generated the DNA profiles; c) the acceptable range of responses and the individual(s) who set the acceptable range of responses; d) the protocols used during the evaluation; e) the original documentation from each participant who performed the annual evaluation; f) who performed the review of the annual evaluation; g) assessment of any deviations; h) root cause analysis performed; i) all corrective actions implemented.
Conformance | 5.2 | Requirement | Documentation of the root cause analysis and any corrective actions implemented shall be maintained by the laboratory. Depending on the nature of the root cause, the discrepancy may necessitate one or more of the following corrective actions/remediations, such as re-training of the individual(s); modification of the protocol by providing additional detail of the procedures, clarity, and ease of use; additional validation work with subsequent modification to the protocol, protocol verification and training; audit of previous casework; suspending DNA casework; and any other appropriate measures resulting from the evaluation, depending on the laboratory’s quality system.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics